## PTData (hidden)
Schedule Sequence | PT Suffix | Milti-round PT Results Due | Enrol by Year Offset | Enrol by Week | Weeks to Dispatch | Odd Even All | Calculated enrol by date | PT Item Code | Enrol by | Dispatch Date | Result Due | Sample Type | Sample Preparation | Available tests | Select | Header | E | Odd or Even Year
[6 empty] | A | [6 empty] | Food Pathogens |  | Y | Y
1 | FP1 |  | 0 | 3 | 3 | A | 2026-01-12 | 26FP1 | 12 Jan 2026 | 02 Feb 2026 | 02 Mar 2026 | Breakfast Foods | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N
2 | FP2 |  | 0 | 14 | 3 | A | 2026-03-30 | 26FP2 | 30 Mar 2026 | 20 Apr 2026 | 18 May 2026 | Desserts | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N
3 | FP3 |  | 0 | 33 | 3 | A | 2026-08-10 | 26FP3 | 10 Aug 2026 | 31 Aug 2026 | 28 Sep 2026 | Starches | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N
4 | FP4 |  | 0 | 41 | 3 | A | 2026-10-05 | 26FP4 | 05 Oct 2026 | 26 Oct 2026 | 23 Nov 2026 | Traditional and Festive Foods | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N
[6 empty] | A | [6 empty] | Food Non-Pathogens |  | Y | Y
5 | NP1 |  | 0 | 3 | 3 | A | 2026-01-12 | 26NP1 | 12 Jan 2026 | 02 Feb 2026 | 02 Mar 2026 | Beverage ingredients | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N
6 | NP2 |  | 0 | 14 | 3 | A | 2026-03-30 | 26NP2 | 30 Mar 2026 | 20 Apr 2026 | 18 May 2026 | Soups | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N
7 | NP3 |  | 0 | 33 | 3 | A | 2026-08-10 | 26NP3 | 10 Aug 2026 | 31 Aug 2026 | 28 Sep 2026 | Infant formula | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N
8 | NP4 |  | 0 | 41 | 3 | A | 2026-10-05 | 26NP4 | 05 Oct 2026 | 26 Oct 2026 | 23 Nov 2026 | Traditional and Festive Foods | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N
[6 empty] | A | [6 empty] | Specialist Food Matrices |  | Y | Y
9 | CH1 |  | 0 | 11 | 3 | A | 2026-03-09 | 26CH1 | 09 Mar 2026 | 30 Mar 2026 | 27 Apr 2026 | Chocolate block | Sample Count: 3 Format: 40g chocolate Preparation: NONE Test as received | Count (cfu/g): Plate Count, Coliforms, Enterobacteriaceae, Mould, Yeast Detection (/0.1g): E. coli ; (/25g): Salmonella spp. | Y | N
10 | MM1 |  | 0 | 17 | 3 | A | 2026-04-20 | 26MM1 | 20 Apr 2026 | 11 May 2026 | 08 Jun 2026 | Meat | Sample Count: 2 Format: real mince + vial Preparation: Rehydrate to obtain 40 g | Count (cfu/g): Plate Count, E. coli, Coagulase positive Staphylococcus spp., Lactic acid bacteria, Enterobacteriaceae Detection (/25g): Salmonella spp. | Y | N
11 | MM2 |  | 0 | 44 | 3 | A | 2026-10-26 | 26MM2 | 26 Oct 2026 | 16 Nov 2026 | 14 Dec 2026 | Meat | Sample Count: 2 Format: real mince + vial Preparation: Rehydrate to obtain 40 g | Count (cfu/g): Psychrotrophic bacteria, Yeast, Mould, Pseudomonas aeruginosa Detection (/25 g): Listeria monocytogenes | Y | N
12 | SF1 |  | 0 | 12 | 3 | A | 2026-03-16 | 26SF1 | 16 Mar 2026 | 06 Apr 2026 | 04 May 2026 | Seafood | Sample Count: 2 Format: real seafood plus vial Preparation: Rehydrate to obtain 40 g | Detection (/0.1g): E. coli Detection (/25g): Vibrio cholerae, Vibrio parahaemolyticus | Y | N
13 | SF2 |  | 0 | 35 | 3 | E | 2026-08-24 | 26SF2 | 24 Aug 2026 | 14 Sep 2026 | 12 Oct 2026 | Seafood | Sample Count: 2 Format: real seafood plus vial Preparation: Rehydrate to obtain 40 g | Count (cfu/g): Total bacteria, coliform, E. coli, Coagulase positive Staphylococcus spp., Anaerobic sulfite reducing bacteria, H2S producing bacteria | Y | N
[6 empty] | A | [6 empty] | Carcass |  | Y | Y
14 | MIS-01 | 15th of test month (Jan to Jun) | -1 | 48 | 3 | A | 2025-11-24 | 26MIS-01 | 24 Nov 2025 | 15 Dec 2025 | 15th of test month (Jan to Jun) | Simulated Liquid | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 100 mL | Count (cfu/g and cfu/cm2): Plate Count, E. coli, Coliforms Detection (/25g): Salmonella spp., E. coli O157 | Y | N
15 | MIS-02 | 15th of test month (Jul to Dec) | 0 | 21 | 4 | A | 2026-05-18 | 26MIS-02 | 18 May 2026 | 15 Jun 2026 | 15th of test month (Jul to Dec) | Simulated Liquid | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 100 mL | Count (cfu/g and cfu/cm2): Plate Count, E. coli, Coliforms Detection (/25g): Salmonella spp., E. coli O157 | Y | N
17 | CSPm |  | 0 | 21 | 4 | A | 2026-05-18 | 26CSPm | 18 May 2026 | 15 Jun 2026 | 13 Jul 2026 | Simulated Liquid | Sample Count: 2 Format: Freeze-dried vial Preparation: Reconstitute to obtain 1000 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Clostridium spp. (vegetative), Enterococcus spp., Thermotolerant (faecal) Coliforms, E. coli, Ps. aeruginosa, Pseudomonas spp., Yeast, Mould, Faecal Streptococcus spp., Coagulase positive Staphylococcus spp. | Y | N
[6 empty] | A | [6 empty] | "Big 6" E. coli |  | Y | Y
18 | MX1 |  | 0 | 6 | 3 | A | 2026-02-02 | 26MX1 | 02 Feb 2026 | 23 Feb 2026 | 23 Mar 2026 | Simulated Sample (non-pathogenic format) | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | “Big 6” E. coli detection and identification. O26, O45, O103, O111, O121, O145 and O157 Detection of eae and stx genes | Y | N
19 | MX2 |  | 0 | 32 | 3 | A | 2026-08-03 | 26MX2 | 03 Aug 2026 | 24 Aug 2026 | 21 Sep 2026 | Simulated Sample (non-pathogenic format) | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | “Big 6” E. coli detection and identification. O26, O45, O103, O111, O121, O145 and O157 Detection of eae and stx genes | Y | N
[6 empty] | A | [6 empty] | Extension Microbiology |  | Y | Y
21 | XN1 |  | 0 | 34 | 3 | A | 2026-08-17 | 26XN1 | 17 Aug 2026 | 07 Sep 2026 | 05 Oct 2026 | Milk Powder | Sample Count: 3 Format: 25g milk powder Preparation: NONE Test as received | Count (cfu/g): Enterobacteriaceae, Aerobic and Anaerobic Mesophilic and Thermophilic spores, Total Anaerobic Detection (/10g): Cronobacter spp. | Y | N
22 | XP1 |  | 0 | 16 | 3 | A | 2026-04-13 | 26XP1 | 13 Apr 2026 | 04 May 2026 | 01 Jun 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | Detection (/25g): Campylobacter spp., Vibrio spp., Vibrio cholerae, Vibrio parahaemolyticus, Salmonella spp., Yersinia spp. and Yersinia enterocolitica Count (cfu/g): Vibrio parahaemolyticus and Campylobacter spp. Identification to species level of detected targets | Y | N
23 | XP2 |  | 0 | 36 | 3 | A | 2026-08-31 | 26XP2 | 31 Aug 2026 | 21 Sep 2026 | 19 Oct 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | Detection (/25g): Campylobacter spp., Vibrio spp., Vibrio cholerae, Vibrio parahaemolyticus, Salmonella spp., Yersinia spp. and Yersinia enterocolitica Count (cfu/g): Vibrio parahaemolyticus and Campylobacter spp. Identification to species level of detected targets | Y | N
[6 empty] | A | [6 empty] | Food Factory Hygiene |  | Y | Y
24 | SW1 |  | 0 | 9 | 3 | A | 2026-02-23 | 26SW1 | 23 Feb 2026 | 16 Mar 2026 | 13 Apr 2026 | Swabs (General Hygiene Checks) | Sample Count: 2 Format: 3 swabs each Minor rehydration required | Count (/swab): Plate count, Anaerobic Count, Mould, Yeast | Y | N
26 | SW2 |  | 0 | 26 | 3 | A | 2026-06-22 | 26SW2 | 22 Jun 2026 | 13 Jul 2026 | 10 Aug 2026 | Swabs (Gram Negative Organisms) | Sample Count: 2 Format: 3 swabs each Minor rehydration required | Count (/swab): Coliforms, E. coli, Enterobacteriaceae Detection (/swab): Campylobacter spp., E. coli, E. coli O157, Salmonella spp. | Y | N
27 | SW3 |  | 0 | 43 | 3 | A | 2026-10-19 | 26SW3 | 19 Oct 2026 | 09 Nov 2026 | 07 Dec 2026 | Swabs (Gram Positive Organisms) | Sample Count: 2 Format: 3 swabs each Minor rehydration required | Count (/swab) Available from 2026: Coagulase positive Staphylococcus spp., Listeria monocytogenes Detection (/swab): Listeria monocytogenes, Coagulase positive Staphylococcus spp., Clostridium spp. | Y | N
[6 empty] | A | [6 empty] | Potable Water and Beverages |  | Y | Y
28 | CSP-01 | 25th of test month (May to Oct) | 0 | 13 | 3 | A | 2026-03-23 | 26CSP-01 | 23 Mar 2026 | 13 Apr 2026 | 25th of test month (May to Oct) | Simulated beverages and clean drinking water | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 1000 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Clostridium spp. (vegetative), Enterococcus spp., Thermotolerant (faecal) Coliforms, E. coli, Ps. aeruginosa, Pseudomonas spp., Yeast, Mould, Faecal Streptococcus spp., Coagulase positive Staphylococcus spp. | Y | N
29 | CSP-02 | 25th of test month (Nov to Apr) | 0 | 39 | 3 | A | 2026-09-21 | 26CSP-02 | 21 Sep 2026 | 12 Oct 2026 | 25th of test month (Nov to Apr) | Simulated beverages and clean drinking water | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 1000 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Clostridium spp. (vegetative), Enterococcus spp., Thermotolerant (faecal) Coliforms, E. coli, Ps. aeruginosa, Pseudomonas spp., Yeast, Mould, Faecal Streptococcus spp., Coagulase positive Staphylococcus spp. | Y | N
[6 empty] | A | [6 empty] | Environmental Waters |  | Y | Y
30 | EW-01 | Last day of test month (Jun & Sep) | 0 | 15 | 3 | A | 2026-04-06 | 26EW-01 | 06 Apr 2026 | 27 Apr 2026 | Last day of test month (Jun & Sep) | Simulated Environmental Water | Sample Count: 2 X 2 Format: Freeze-dried vial Test each set in indicated month Preparation: Reconstitute to obtain 800 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Enterococcus spp., E. coli, Ps. aeruginosa, Yeast, Mould, Thermotolerant (faecal) Coliforms | Y | N
31 | EW-02 | Last day of test month (Dec & Mar) | 0 | 42 | 3 | A | 2026-10-12 | 26EW-02 | 12 Oct 2026 | 02 Nov 2026 | Last day of test month (Dec & Mar) | Simulated Environmental Water | Sample Count: 2 X 2 Format: Freeze-dried vial Test each set in indicated month Preparation: Reconstitute to obtain 800 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Enterococcus spp., E. coli, Ps. aeruginosa, Yeast, Mould, Thermotolerant (faecal) Coliforms | Y | N
32 | SL1 |  | 0 | 38 | 3 | E | 2026-09-14 | 26SL1 | 14 Sep 2026 | 05 Oct 2026 | 02 Nov 2026 | Sludge | Sample Count: 3 Format: sludge plus vial Rehydration required to provide 50g sludge | Detection (/25 g): Salmonella spp. Count (cfu/g): E. coli, Plate Count, Thermotolerant (faecal) Coliforms | Y | N
[6 empty] | A | [6 empty] | Legionella |  | Y | Y
33 | LG1 |  | 0 | 7 | 3 | A | 2026-02-09 | 26LG1 | 09 Feb 2026 | 02 Mar 2026 | 30 Mar 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 100 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C, Legionella pneumophila (SG1, SG2-14), Total Legionella pneumophila, Legionella spp., Total Legionella | Y | N
34 | LG2 |  | 0 | 25 | 3 | A | 2026-06-15 | 26LG2 | 15 Jun 2026 | 06 Jul 2026 | 03 Aug 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 100 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C, Legionella pneumophila (SG1, SG2-14), Total Legionella pneumophila, Legionella spp., Total Legionella | Y | N
35 | LG2s (filtration) |  | 0 | 25 | 3 | A | 2026-06-15 | 26LG2s (filtration) | 15 Jun 2026 | 06 Jul 2026 | 03 Aug 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 2500 mL | Count (cfu/1000 mL): Legionella pneumophila, Legionella spp., Total Legionella, species and serogroup identification of targets | Y | N
36 | LG3 |  | 0 | 40 | 3 | A | 2026-09-28 | 26LG3 | 28 Sep 2026 | 19 Oct 2026 | 16 Nov 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 100 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C, Legionella pneumophila (SG1, SG2-14), Total Legionella pneumophila, Legionella spp., Total Legionella | Y | N
[6 empty] | A | [6 empty] | Pharmaceutical, Surgical and Cosmetics |  | Y | Y
37 | ST1 |  | 0 | 18 | 3 | E | 2026-04-27 | 26ST1 | 27 Apr 2026 | 18 May 2026 | 15 Jun 2026 | Solid materials e.g., dressings | Sample Count: 3 Preparation: NONE Test as received | Applicable to both Commercial and Surgical Sterility testing It is expected participants ensure the samples are free from aerobic, anaerobic and fungal contaminants | Y | N
39 | PH1 |  | 0 | 10 | 3 | A | 2026-03-02 | 26PH1 | 02 Mar 2026 | 23 Mar 2026 | 20 Apr 2026 | Lotion | Sample Count: 3 Format: Lotion and vial Preparation: Combine lotion and vial prior to testing | Count (cfu/g): Yeast, Mould, Total Yeast & Mould, Total aerobic microbial count (TAMC), Total combined yeast & mould count (TYMC) Detection (/10g, and 1g): Candida albicans, Coagulase positive Staphylococcus spp., E. coli, Ps. aeruginosa | Y | N
40 | PH2 |  | 0 | 23 | 3 | A | 2026-06-01 | 26PH2 | 01 Jun 2026 | 22 Jun 2026 | 20 Jul 2026 | Herbal tea | Sample Count: 3 Format: 130g herbal tea Preparation: NONE Test as received | Count (cfu/g): Yeast, Mould, Total Yeast & Mould, Total aerobic microbial count (TAMC), Total combined yeast & mould count (TYMC) Detection (/10g and /1g): E. coli, Salmonella spp., Coagulase positive Staphylococcus spp., Clostridium perfringens, Clostridium spp., Pseudomonas aeruginosa | Y | N
41 | PH3 |  | 0 | 37 | 3 | A | 2026-09-07 | 26PH3 | 07 Sep 2026 | 28 Sep 2026 | 26 Oct 2026 | Capsules Unpressed Tablet | Sample Count: 3 Format: 130g capsule and unpressed tablet Preparation: NONE Test as received | Count (cfu/g): Yeast, Mould, Total Yeast & Mould, Total aerobic microbial count (TAMC), Total combined yeast & mould count (TYMC) Detection (/10g and /1g): Candida albicans, E. coli, Ps. aeruginosa, Pseudomonas spp., Salmonella spp., Coagulase positive Staphylococcus spp., Gram negative bacteria (bile tolerant) | Y | N
[6 empty] | A | [6 empty] | Veterinary |  | Y | Y
42 | VMS-01 | Last day of test month (Jan to Jun) | -1 | 48 | 3 | A | 2025-11-24 | 26VMS-01 | 24 Nov 2025 | 15 Dec 2025 | Last day of test month (Jan to Jun) | Simulated Sample | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute prior to testing | Antibiotic Sensitivity, Organism Identification, Biochemical tests | Y | N
43 | VMS-02 | Last day of test month (Jul to Dec) | 0 | 24 | 3 | A | 2026-06-08 | 26VMS-02 | 08 Jun 2026 | 29 Jun 2026 | Last day of test month (Jul to Dec) | Simulated Sample | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute prior to testing | Antibiotic Sensitivity, Organism Identification, Biochemical tests | Y | N

## Years (hidden)
Years
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034

## PerpetualSchedule
IFM Quality Services Perpetual Microbiology PT Schedule (V1.10 - 5 September 2025)
| Sort by: |  | Program Category |  | Select Year: | 2026
Programs and dates may change without notice. Please always refer to the current, published PT order forms for confirmed programs and dates. Please visit the IFM web site to download the latest version of the Perpetual Schedule
| PT Item Code | Enrol by | Dispatch Date | Result Due | Sample Type | Sample Preparation | Available tests | Select | Header
[6 empty] | Food Pathogens |  | Y | Y | 7
46034 | 26FP1 | 12 Jan 2026 | 02 Feb 2026 | 02 Mar 2026 | Breakfast Foods | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N | 7
46111 | 26FP2 | 30 Mar 2026 | 20 Apr 2026 | 18 May 2026 | Desserts | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N | 7
46244 | 26FP3 | 10 Aug 2026 | 31 Aug 2026 | 28 Sep 2026 | Starches | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N | 7
46300 | 26FP4 | 05 Oct 2026 | 26 Oct 2026 | 23 Nov 2026 | Traditional and Festive Foods | Sample Count: 3 Format: 130g Real food Preparation: NONE Test as received | Count (cfu/g): Clostridium perfringens, Clostridium spp., Coagulase positive Staphylococcus spp., Enterococcus spp., Listeria monocytogenes Detection (/25g): E. coli O157, Listeria monocytogenes, Listeria spp., Salmonella spp. | Y | N | 7
[6 empty] | Food Non-Pathogens |  | Y | Y | 7
46034 | 26NP1 | 12 Jan 2026 | 02 Feb 2026 | 02 Mar 2026 | Beverage ingredients | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N | 7
46111 | 26NP2 | 30 Mar 2026 | 20 Apr 2026 | 18 May 2026 | Soups | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N | 7
46244 | 26NP3 | 10 Aug 2026 | 31 Aug 2026 | 28 Sep 2026 | Infant formula | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N | 7
46300 | 26NP4 | 05 Oct 2026 | 26 Oct 2026 | 23 Nov 2026 | Traditional and Festive Foods | Sample Count: 3 Format: 25g Real food Preparation: NONE Test as received | Count (cfu/g): Plate Count and Anaerobic count, Bacillus cereus, E. coli, Enterobacteriaceae, Lactic acid bacteria, Mould, Coliforms, Pseudomonas spp., Thermotolerant (faecal) Coliforms, Yeast | Y | N | 7
[6 empty] | Specialist Food Matrices |  | Y | Y | 7
46090 | 26CH1 | 09 Mar 2026 | 30 Mar 2026 | 27 Apr 2026 | Chocolate block | Sample Count: 3 Format: 40g chocolate Preparation: NONE Test as received | Count (cfu/g): Plate Count, Coliforms, Enterobacteriaceae, Mould, Yeast Detection (/0.1g): E. coli ; (/25g): Salmonella spp. | Y | N | 7
46132 | 26MM1 | 20 Apr 2026 | 11 May 2026 | 08 Jun 2026 | Meat | Sample Count: 2 Format: real mince + vial Preparation: Rehydrate to obtain 40 g | Count (cfu/g): Plate Count, E. coli, Coagulase positive Staphylococcus spp., Lactic acid bacteria, Enterobacteriaceae Detection (/25g): Salmonella spp. | Y | N | 7
46321 | 26MM2 | 26 Oct 2026 | 16 Nov 2026 | 14 Dec 2026 | Meat | Sample Count: 2 Format: real mince + vial Preparation: Rehydrate to obtain 40 g | Count (cfu/g): Psychrotrophic bacteria, Yeast, Mould, Pseudomonas aeruginosa Detection (/25 g): Listeria monocytogenes | Y | N | 7
46097 | 26SF1 | 16 Mar 2026 | 06 Apr 2026 | 04 May 2026 | Seafood | Sample Count: 2 Format: real seafood plus vial Preparation: Rehydrate to obtain 40 g | Detection (/0.1g): E. coli Detection (/25g): Vibrio cholerae, Vibrio parahaemolyticus | Y | N | 7
46258 | 26SF2 | 24 Aug 2026 | 14 Sep 2026 | 12 Oct 2026 | Seafood | Sample Count: 2 Format: real seafood plus vial Preparation: Rehydrate to obtain 40 g | Count (cfu/g): Total bacteria, coliform, E. coli, Coagulase positive Staphylococcus spp., Anaerobic sulfite reducing bacteria, H2S producing bacteria | Y | N | 7
[6 empty] | Carcass |  | Y | Y | 7
45985 | 26MIS-01 | 24 Nov 2025 | 15 Dec 2025 | 15th of test month (Jan to Jun) | Simulated Liquid | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 100 mL | Count (cfu/g and cfu/cm2): Plate Count, E. coli, Coliforms Detection (/25g): Salmonella spp., E. coli O157 | Y | N | 7
46160 | 26MIS-02 | 18 May 2026 | 15 Jun 2026 | 15th of test month (Jul to Dec) | Simulated Liquid | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 100 mL | Count (cfu/g and cfu/cm2): Plate Count, E. coli, Coliforms Detection (/25g): Salmonella spp., E. coli O157 | Y | N | 7
46160 | 26CSPm | 18 May 2026 | 15 Jun 2026 | 13 Jul 2026 | Simulated Liquid | Sample Count: 2 Format: Freeze-dried vial Preparation: Reconstitute to obtain 1000 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Clostridium spp. (vegetative), Enterococcus spp., Thermotolerant (faecal) Coliforms, E. coli, Ps. aeruginosa, Pseudomonas spp., Yeast, Mould, Faecal Streptococcus spp., Coagulase positive Staphylococcus spp. | Y | N | 7
[6 empty] | "Big 6" E. coli |  | Y | Y | 7
46055 | 26MX1 | 02 Feb 2026 | 23 Feb 2026 | 23 Mar 2026 | Simulated Sample (non-pathogenic format) | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | “Big 6” E. coli detection and identification. O26, O45, O103, O111, O121, O145 and O157 Detection of eae and stx genes | Y | N | 7
46237 | 26MX2 | 03 Aug 2026 | 24 Aug 2026 | 21 Sep 2026 | Simulated Sample (non-pathogenic format) | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | “Big 6” E. coli detection and identification. O26, O45, O103, O111, O121, O145 and O157 Detection of eae and stx genes | Y | N | 7
[6 empty] | Extension Microbiology |  | Y | Y | 7
46251 | 26XN1 | 17 Aug 2026 | 07 Sep 2026 | 05 Oct 2026 | Milk Powder | Sample Count: 3 Format: 25g milk powder Preparation: NONE Test as received | Count (cfu/g): Enterobacteriaceae, Aerobic and Anaerobic Mesophilic and Thermophilic spores, Total Anaerobic Detection (/10g): Cronobacter spp. | Y | N | 7
46125 | 26XP1 | 13 Apr 2026 | 04 May 2026 | 01 Jun 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | Detection (/25g): Campylobacter spp., Vibrio spp., Vibrio cholerae, Vibrio parahaemolyticus, Salmonella spp., Yersinia spp. and Yersinia enterocolitica Count (cfu/g): Vibrio parahaemolyticus and Campylobacter spp. Identification to species level of detected targets | Y | N | 7
46265 | 26XP2 | 31 Aug 2026 | 21 Sep 2026 | 19 Oct 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute prior to testing | Detection (/25g): Campylobacter spp., Vibrio spp., Vibrio cholerae, Vibrio parahaemolyticus, Salmonella spp., Yersinia spp. and Yersinia enterocolitica Count (cfu/g): Vibrio parahaemolyticus and Campylobacter spp. Identification to species level of detected targets | Y | N | 7
[6 empty] | Food Factory Hygiene |  | Y | Y | 7
46076 | 26SW1 | 23 Feb 2026 | 16 Mar 2026 | 13 Apr 2026 | Swabs (General Hygiene Checks) | Sample Count: 2 Format: 3 swabs each Minor rehydration required | Count (/swab): Plate count, Anaerobic Count, Mould, Yeast | Y | N | 7
46195 | 26SW2 | 22 Jun 2026 | 13 Jul 2026 | 10 Aug 2026 | Swabs (Gram Negative Organisms) | Sample Count: 2 Format: 3 swabs each Minor rehydration required | Count (/swab): Coliforms, E. coli, Enterobacteriaceae Detection (/swab): Campylobacter spp., E. coli, E. coli O157, Salmonella spp. | Y | N | 7
46314 | 26SW3 | 19 Oct 2026 | 09 Nov 2026 | 07 Dec 2026 | Swabs (Gram Positive Organisms) | Sample Count: 2 Format: 3 swabs each Minor rehydration required | Count (/swab) Available from 2026: Coagulase positive Staphylococcus spp., Listeria monocytogenes Detection (/swab): Listeria monocytogenes, Coagulase positive Staphylococcus spp., Clostridium spp. | Y | N | 7
[6 empty] | Potable Water and Beverages |  | Y | Y | 7
46104 | 26CSP-01 | 23 Mar 2026 | 13 Apr 2026 | 25th of test month (May to Oct) | Simulated beverages and clean drinking water | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 1000 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Clostridium spp. (vegetative), Enterococcus spp., Thermotolerant (faecal) Coliforms, E. coli, Ps. aeruginosa, Pseudomonas spp., Yeast, Mould, Faecal Streptococcus spp., Coagulase positive Staphylococcus spp. | Y | N | 7
46286 | 26CSP-02 | 21 Sep 2026 | 12 Oct 2026 | 25th of test month (Nov to Apr) | Simulated beverages and clean drinking water | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute to obtain 1000 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Clostridium spp. (vegetative), Enterococcus spp., Thermotolerant (faecal) Coliforms, E. coli, Ps. aeruginosa, Pseudomonas spp., Yeast, Mould, Faecal Streptococcus spp., Coagulase positive Staphylococcus spp. | Y | N | 7
[6 empty] | Environmental Waters |  | Y | Y | 7
46118 | 26EW-01 | 06 Apr 2026 | 27 Apr 2026 | Last day of test month (Jun & Sep) | Simulated Environmental Water | Sample Count: 2 X 2 Format: Freeze-dried vial Test each set in indicated month Preparation: Reconstitute to obtain 800 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Enterococcus spp., E. coli, Ps. aeruginosa, Yeast, Mould, Thermotolerant (faecal) Coliforms | Y | N | 7
46307 | 26EW-02 | 12 Oct 2026 | 02 Nov 2026 | Last day of test month (Dec & Mar) | Simulated Environmental Water | Sample Count: 2 X 2 Format: Freeze-dried vial Test each set in indicated month Preparation: Reconstitute to obtain 800 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C Count (cfu/100mL): Coliforms, Enterococcus spp., E. coli, Ps. aeruginosa, Yeast, Mould, Thermotolerant (faecal) Coliforms | Y | N | 7
46279 | 26SL1 | 14 Sep 2026 | 05 Oct 2026 | 02 Nov 2026 | Sludge | Sample Count: 3 Format: sludge plus vial Rehydration required to provide 50g sludge | Detection (/25 g): Salmonella spp. Count (cfu/g): E. coli, Plate Count, Thermotolerant (faecal) Coliforms | Y | N | 7
[6 empty] | Legionella |  | Y | Y | 7
46062 | 26LG1 | 09 Feb 2026 | 02 Mar 2026 | 30 Mar 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 100 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C, Legionella pneumophila (SG1, SG2-14), Total Legionella pneumophila, Legionella spp., Total Legionella | Y | N | 7
46188 | 26LG2 | 15 Jun 2026 | 06 Jul 2026 | 03 Aug 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 100 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C, Legionella pneumophila (SG1, SG2-14), Total Legionella pneumophila, Legionella spp., Total Legionella | Y | N | 7
46188 | 26LG2s (filtration) | 15 Jun 2026 | 06 Jul 2026 | 03 Aug 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 2500 mL | Count (cfu/1000 mL): Legionella pneumophila, Legionella spp., Total Legionella, species and serogroup identification of targets | Y | N | 7
46293 | 26LG3 | 28 Sep 2026 | 19 Oct 2026 | 16 Nov 2026 | Simulated Sample | Sample Count: 3 Format: Freeze-dried vial Preparation: Reconstitute to obtain 100 mL | Count (cfu/mL): Plate count 21°C, Plate count 37°C, Legionella pneumophila (SG1, SG2-14), Total Legionella pneumophila, Legionella spp., Total Legionella | Y | N | 7
[6 empty] | Pharmaceutical, Surgical and Cosmetics |  | Y | Y | 7
46139 | 26ST1 | 27 Apr 2026 | 18 May 2026 | 15 Jun 2026 | Solid materials e.g., dressings | Sample Count: 3 Preparation: NONE Test as received | Applicable to both Commercial and Surgical Sterility testing It is expected participants ensure the samples are free from aerobic, anaerobic and fungal contaminants | Y | N | 7
46083 | 26PH1 | 02 Mar 2026 | 23 Mar 2026 | 20 Apr 2026 | Lotion | Sample Count: 3 Format: Lotion and vial Preparation: Combine lotion and vial prior to testing | Count (cfu/g): Yeast, Mould, Total Yeast & Mould, Total aerobic microbial count (TAMC), Total combined yeast & mould count (TYMC) Detection (/10g, and 1g): Candida albicans, Coagulase positive Staphylococcus spp., E. coli, Ps. aeruginosa | Y | N | 7
46174 | 26PH2 | 01 Jun 2026 | 22 Jun 2026 | 20 Jul 2026 | Herbal tea | Sample Count: 3 Format: 130g herbal tea Preparation: NONE Test as received | Count (cfu/g): Yeast, Mould, Total Yeast & Mould, Total aerobic microbial count (TAMC), Total combined yeast & mould count (TYMC) Detection (/10g and /1g): E. coli, Salmonella spp., Coagulase positive Staphylococcus spp., Clostridium perfringens, Clostridium spp., Pseudomonas aeruginosa | Y | N | 7
46272 | 26PH3 | 07 Sep 2026 | 28 Sep 2026 | 26 Oct 2026 | Capsules Unpressed Tablet | Sample Count: 3 Format: 130g capsule and unpressed tablet Preparation: NONE Test as received | Count (cfu/g): Yeast, Mould, Total Yeast & Mould, Total aerobic microbial count (TAMC), Total combined yeast & mould count (TYMC) Detection (/10g and /1g): Candida albicans, E. coli, Ps. aeruginosa, Pseudomonas spp., Salmonella spp., Coagulase positive Staphylococcus spp., Gram negative bacteria (bile tolerant) | Y | N | 7
[6 empty] | Veterinary |  | Y | Y | 7
45985 | 26VMS-01 | 24 Nov 2025 | 15 Dec 2025 | Last day of test month (Jan to Jun) | Simulated Sample | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute prior to testing | Antibiotic Sensitivity, Organism Identification, Biochemical tests | Y | N | 7
46181 | 26VMS-02 | 08 Jun 2026 | 29 Jun 2026 | Last day of test month (Jul to Dec) | Simulated Sample | Sample Count: 6 Format: Freeze-dried vial Test 1 vial each month Preparation: Reconstitute prior to testing | Antibiotic Sensitivity, Organism Identification, Biochemical tests | Y | N | 7
0